TROUBLESHOOTING WEIGH BRIDGE

If the weigh bridge does not move freely, check for

obstructions such as stones, mud, ice or other debris between

scale deck, walls and underside of scale including loadcells or levers. Also check bumper bolts are not bound against their

stops, adjust to ¼” clearance if necessary.

TROUBLESHOOTING INDICATOR

-  If when trying to key in a truck ID and indicator displays

ID FULL, key in     then

also key in     then

NOTE!! After completion you will erase all existing truck

ID numbers’s and begin with a clean slate.

- If an error code appears on the display or display lock’s up, unplug scale indicator from the wall and after 10 second’s plug back in to reset it.

- If scale indicator will not reset or your scale performance is not normal in any way contact

BESTWEIGH SCALE

SCOTLAND, ONTARIO

Telephone:      (519) 446-0012

Toll free:         1-800-770-6668

Fax:                 (519) 446-2230

www.bestweighscale.com